{"text_format":"3","workbook":"xls","n_sheets":6,"sheets":["WinCC and PowerPacks","Comm Data","Options and Docu","Infotexts","Trolley","Help"],"not_rendered":{"images":52,"macros":1,"external_links":1,"defined_names":49},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"WinCC and PowerPacks","index":0,"n_rows":33,"n_cols":51,"rows_kept":33,"merged":[[1,4,1,22],[1,30,1,48]],"flags":["formulas_cached_only"]}
[]
[null,null,"SIEMENS",null,"WinCC V6.2 基本包 (中文版)",{"$nulls":19},"人民币列表价",{"$nulls":3},"SIEMENS",null,"WinCC V6.2 升级包(Upgrade Package)",{"$nulls":19},"人民币列表价"]
[]
[]
[null,null,"运行版 (64k) 64 000 Tags",null,{"v":71018.3,"d":"￥71,018.30"},{"$nulls":23},"完全版"]
[{"$nulls":28},"8293 to 65535 PowerTags",null,{"v":23075.8914596006,"d":"￥23,075.891"}]
[]
[{"$nulls":4},{"v":71018.3,"d":"￥71,018.30"},null,null,"6AV6",3,8,1,"-",1,"B","F",0,6,"-",2,"A","V",0,{"$nulls":8},{"v":23075.8914596006,"d":"￥23,075.891"},null,null,"6AV6",3,7,1,"-",1,"B","N",1,6,"-",2,"A","X",0]
[{"$nulls":14},"|",null,"|",{"$nulls":3},"|",{"$nulls":18},"|","|","|"]
[{"$nulls":14},"|",null,"|",{"$nulls":3},"|",{"$nulls":18},"|","|","|"]
[null,1,"版本",{"$nulls":11},"|",null,"|",{"$nulls":3},"|",{"$nulls":6},1,"WinCC Version",{"$nulls":10},"|","|","|"]
[null,null,"WinCC V6.2 中文版",null,{"v":0,"d":"￥0.00"},{"$nulls":9},"|",null,"|",{"$nulls":3},"V","Chinese",{"$nulls":6},"Version 6.2",{"$nulls":10},"|","|","|"]
[{"$nulls":14},"|",null,"|",{"$nulls":3},"X","English",{"$nulls":17},"|","|","|"]
[{"$nulls":14},"|",null,"|",{"$nulls":22},"|","|","|"]
[{"$nulls":14},"|",null,"|",{"$nulls":10},2,"Package",{"$nulls":10},"|","|","|"]
[{"$nulls":14},"|",null,"|",{"$nulls":11},"运行版",{"$nulls":10},"|","|",0]
[null,5,"基本包和变量升级包",{"$nulls":11},"|",null,6,"Major Version",{"$nulls":10},"完全版",{"$nulls":10},"|","|",1]
[null,null,"运行版 128 Tags",null,{"v":17600,"d":"￥17,600.00"},{"$nulls":9},"C",{"$nulls":24},"|","|"]
[null,null,"运行版 256 Tags",null,{"v":25600,"d":"￥25,600.00"},{"$nulls":9},"D",{"$nulls":12},10,"Upgrade from",null,"Runtime","Runtime+Configuration",{"$nulls":7},"|","|"]
[null,null,"运行版 1024 Tags",null,{"v":48087.815,"d":"￥48,087.82"},{"$nulls":9},"E",{"$nulls":13},"128 to 256 PowerTags",null,{"v":18842.5444652134,"d":"￥18,842.544"},{"v":37021.0344999347,"d":"￥37,021.034"},{"$nulls":7},"B","D"]
[null,null,"运行版 (8k) 8 000 Tags",null,{"v":57777.6,"d":"￥57,777.60"},{"$nulls":9},"H",{"$nulls":13},"128 to 1024 PowerTags",null,{"v":31210.5582331288,"d":"￥31,210.558"},{"v":62753.1436815037,"d":"￥62,753.144"},{"$nulls":7},"B","E"]
[null,null,"运行版 (64k) 64 000 Tags",null,{"v":71018.3,"d":"￥71,018.30"},{"$nulls":9},"F",{"$nulls":13},"128 to 8192 PowerTags",null,{"v":44574.6536467824,"d":"￥44,574.654"},{"v":90145.388939303,"d":"￥90,145.389"},{"$nulls":7},"B","K"]
[null,null,"完全版 128 Tags",null,{"v":25600,"d":"￥25,600.00"},{"$nulls":9},"M",{"$nulls":13},"128 to 65535 PowerTags",null,{"v":62836.1504853153,"d":"￥62,836.150"},{"v":113221.280398904,"d":"￥113,221.280"},{"$nulls":7},"B","F"]
[null,null,"完全版 256 Tags",null,{"v":43600,"d":"￥43,600.00"},{"$nulls":9},"N",{"$nulls":13},"256 to 1024 PowerTags",null,{"v":12368.0137679154,"d":"￥12,368.014"},{"v":25732.109181569,"d":"￥25,732.109"},{"$nulls":7},"B","G"]
[null,null,"完全版 1024 Tags",null,{"v":83657.15,"d":"￥83,657.15"},{"$nulls":9},"P",{"$nulls":12},1,"256 to 8192 PowerTags",null,{"v":25732.109181569,"d":"￥25,732.109"},{"v":53124.3544393682,"d":"￥53,124.354"},{"$nulls":7},"B","L"]
[null,null,"完全版 (8k) 8 000 Tags",null,{"v":103518.2,"d":"￥103,518.20"},{"$nulls":9},"S",{"$nulls":13},"256 to 65535 PowerTags",null,{"v":43993.6060201018,"d":"￥43,993.606"},{"v":76200.2458989688,"d":"￥76,200.246"},{"$nulls":7},"B","H"]
[null,1,"完全版 (64k) 64 000 Tags",null,{"v":119166.3,"d":"￥119,166.30"},{"$nulls":9},"Q",{"$nulls":13},"1024 to 8192 PowerTags",null,{"v":13364.0954136536,"d":"￥13,364.095"},{"v":27392.2452577993,"d":"￥27,392.245"},{"$nulls":7},"B","M"]
[{"$nulls":28},"1024 to 65535 PowerTags",null,{"v":31625.5922521864,"d":"￥31,625.592"},{"v":50468.1367173998,"d":"￥50,468.137"},{"$nulls":7},"B","J"]
[{"$nulls":27},2,"8293 to 65535 PowerTags",null,{"v":18261.4968385328,"d":"￥18,261.497"},{"v":23075.8914596006,"d":"￥23,075.891"},{"$nulls":7},"B","N"]
["说明",null,"WinCC 6.2 可以运行在 Windows 2000 / XP / 2003 Server SP1/ 2003 Server R2上."]
[]
[]
[{"$nulls":27},0]

{"sheet":"Comm Data","index":1,"n_rows":206,"n_cols":14,"rows_kept":206,"hidden":true,"flags":["formulas_cached_only"]}
[]
[]
[null,"All possible combinations for communication"]
[null,"Enter a name for a combination, a comment, the number of possible nodes ( if known) and select the four parts of the communication by index!"]
[]
["$Table1","Name of the combination","Comment","Recomm. No. of PLCs ","Conn. Type Index","Hardware Index","Driver Index","Channel DLL Index","Connection Type  (don’t edit!)",null,null,"Hardware (don’t edit!)","Hardware Driver (don’t edit!)","WinCC Channel DLL (don’t edit!)"]
[1,"S7-NET 1413 Package","Replaced by S7-Net 1613 Package",30,1,7,13,1,"SIMATIC S7 300/400 Industrial Ethernet",null,null,"S7-NET 1413(Package)","incl.in S7-NET 1413","SIMATIC S7 Protocol Suite"]
[2,"CP1612 + SOFTNET S7/Lean",null,8,1,9,16,1,"SIMATIC S7 300/400 Industrial Ethernet",null,null,"CP1612","SOFTNET-S7 LEAN/ V6.1","SIMATIC S7 Protocol Suite"]
[3,"CP1512 + SOFTNET S7/Lean",null,8,1,10,16,1,"SIMATIC S7 300/400 Industrial Ethernet",null,null,"CP1512","SOFTNET-S7 LEAN/ V6.1","SIMATIC S7 Protocol Suite"]
[4,"CP1613 + S7-1613 (Recommended)",null,64,1,11,11,1,"SIMATIC S7 300/400 Industrial Ethernet",null,null,"CP1613","S7-1613","SIMATIC S7 Protocol Suite"]
[5,"CP1613 + S7-RedConnect (H-Systems Only)",null,null,1,11,15,1,"SIMATIC S7 300/400 Industrial Ethernet",null,null,"CP1613","S7 - Redconnect / Windows V6.0","SIMATIC S7 Protocol Suite"]
[6,"CP5412 + S7-5412","Replaced By CP5613",12,2,1,1,1,"SIMATIC S7 300/400 PROFIBUS",null,null,"CP5412(A2)","S7-5412","SIMATIC S7 Protocol Suite"]
[7,"CP5613 + S7-5613 (Recommended)",null,null,2,2,4,1,"SIMATIC S7 300/400 PROFIBUS",null,null,"CP5613","S7-5613","SIMATIC S7 Protocol Suite"]
[8,"CP5511",null,6,2,3,7,1,"SIMATIC S7 300/400 PROFIBUS",null,null,"CP5511","incl. In WinCC","SIMATIC S7 Protocol Suite"]
[9,"CP5611",null,6,2,4,7,1,"SIMATIC S7 300/400 PROFIBUS",null,null,"CP5611","incl. In WinCC","SIMATIC S7 Protocol Suite"]
[10,"PC Adaptor",null,1,2,5,7,1,"SIMATIC S7 300/400 PROFIBUS",null,null,"PC Adaptor","incl. In WinCC","SIMATIC S7 Protocol Suite"]
[11,"CP5412 + S7-5412","Replaced By CP5613",6,3,1,1,1,"SIMATIC S7 300/400 MPI",null,null,"CP5412(A2)","S7-5412","SIMATIC S7 Protocol Suite"]
[12,"CP5613 + S7-5613 (Recommended)",null,null,3,2,4,1,"SIMATIC S7 300/400 MPI",null,null,"CP5613","S7-5613","SIMATIC S7 Protocol Suite"]
[13,"CP5511",null,4,3,3,7,1,"SIMATIC S7 300/400 MPI",null,null,"CP5511","incl. In WinCC","SIMATIC S7 Protocol Suite"]
[14,"CP5611",null,4,3,4,7,1,"SIMATIC S7 300/400 MPI",null,null,"CP5611","incl. In WinCC","SIMATIC S7 Protocol Suite"]
[15,"PC Adaptor",null,1,3,5,7,1,"SIMATIC S7 300/400 MPI",null,null,"PC Adaptor","incl. In WinCC","SIMATIC S7 Protocol Suite"]
[16,"S7-NET 1413 Package","Replaced by S7-Net 1613 Package",8,4,7,13,1,"SIMATIC S7 300/400 TCP/IP",null,null,"S7-NET 1413(Package)","incl.in S7-NET 1413","SIMATIC S7 Protocol Suite"]
[17,"CP1612 + SOFTNET S7/Lean",null,8,4,9,16,1,"SIMATIC S7 300/400 TCP/IP",null,null,"CP1612","SOFTNET-S7 LEAN/ V6.1","SIMATIC S7 Protocol Suite"]
[18,"CP1512 + SOFTNET S7/Lean",null,8,4,10,16,1,"SIMATIC S7 300/400 TCP/IP",null,null,"CP1512","SOFTNET-S7 LEAN/ V6.1","SIMATIC S7 Protocol Suite"]
[19,"CP1613 + S7-1613",null,null,4,11,11,1,"SIMATIC S7 300/400 TCP/IP",null,null,"CP1613","S7-1613","SIMATIC S7 Protocol Suite"]
[20,"via SIMATIC S7 Protocol Suite","No further MPI connection over SIMATIC S7-Protocol Suite possible, if you communicate with the Slot PLC."," ",5,null,null,1,"SIMATIC S7 Slot PLC",null,null,"","","SIMATIC S7 Protocol Suite"]
[21,"via COM-Port",null,2,6,12,7,4,"SIMATIC S5 Programmers Port AS511",null,null,"COM-Port","incl. In WinCC","SIMATIC S5 Programmers Port AS511"]
[22,"via COM-Port",null,2,7,12,7,5,"SIMATIC S5 Serial 3964R",null,null,"COM-Port","incl. In WinCC","SIMATIC S5 Serial 3964R"]
[23,"CP5412 + S7-5412","Replaced By CP5613",12,8,1,1,8,"SIMATIC S5 Profibus FDL",null,null,"CP5412(A2)","S7-5412","SIMATIC S5 PROFIBUS-FDL"]
[24,"CP5412 + DP-5412","Replaced By CP5613",12,8,1,2,8,"SIMATIC S5 Profibus FDL",null,null,"CP5412(A2)","DP-5412","SIMATIC S5 PROFIBUS-FDL"]
[25,"CP5412 + FMS-5412","Replaced By CP5613",12,8,1,3,8,"SIMATIC S5 Profibus FDL",null,null,"CP5412(A2)","FMS-5412","SIMATIC S5 PROFIBUS-FDL"]
[26,"S7-NET 1413 Package",null,30,9,7,13,2,"SIMATIC S5 Ethernet Layer 4",null,null,"S7-NET 1413(Package)","incl.in S7-NET 1413","SIMATIC S5 Ethernet Layer 4"]
[27,"TF-NET 1413(Package)",null,30,9,8,14,2,"SIMATIC S5 Ethernet Layer 4",null,null,"TF-NET 1413(Package)","incl.in TF-NET 1413","SIMATIC S5 Ethernet Layer 4"]
[28,"CP1613 + S7-1613",null,null,9,11,11,2,"SIMATIC S5 Ethernet Layer 4",null,null,"CP1613","S7-1613","SIMATIC S5 Ethernet Layer 4"]
[29,"CP1613 + TF-1613",null,null,9,11,12,2,"SIMATIC S5 Ethernet Layer 4",null,null,"CP1613","TF-1613","SIMATIC S5 Ethernet Layer 4"]
[30,"CP1613 + S7-1613",null,null,10,11,11,2,"SIMATIC S5 TCP/IP",null,null,"CP1613","S7-1613","SIMATIC S5 Ethernet Layer 4"]
[31,"CP1613 + TF-1613",null,null,10,11,12,2,"SIMATIC S5 TCP/IP",null,null,"CP1613","TF-1613","SIMATIC S5 Ethernet Layer 4"]
[32,"TF-NET 1413(Package)",null,30,11,8,14,3,"SIMATIC S5 Ethernet TF",null,null,"TF-NET 1413(Package)","incl.in TF-NET 1413","SIMATIC S5 Ethernet TF"]
[33,"CP1613 + TF-1613",null,null,11,11,12,3,"SIMATIC S5 Ethernet TF",null,null,"CP1613","TF-1613","SIMATIC S5 Ethernet TF"]
[34,"CP5412 + S7-5412","Replaced By CP5613",12,12,1,1,7,"SIMATIC S5 PMC Profibus",null,null,"CP5412(A2)","S7-5412","SIMATIC S5 PMC PROFIBUS"]
[35,"CP5412 + DP-5412","Replaced By CP5613",12,12,1,2,7,"SIMATIC S5 PMC Profibus",null,null,"CP5412(A2)","DP-5412","SIMATIC S5 PMC PROFIBUS"]
[36,"CP5412 + FMS-5412","Replaced By CP5613",12,12,1,3,7,"SIMATIC S5 PMC Profibus",null,null,"CP5412(A2)","FMS-5412","SIMATIC S5 PMC PROFIBUS"]
[37,"S7-NET 1413 Package","Replaced by S7-Net 1613 Package",30,13,7,13,27,"SIMATIC S5 PMC Ethernet",null,null,"S7-NET 1413(Package)","incl.in S7-NET 1413","S5 PMC Ethernet"]
[38,"TF-NET 1413 Package","Replaced by CP1613",30,13,8,14,27,"SIMATIC S5 PMC Ethernet",null,null,"TF-NET 1413(Package)","incl.in TF-NET 1413","S5 PMC Ethernet"]
[39,"S7-NET 1413 Package","Replaced by CP1613",30,14,7,13,28,"SIMATIC S5 PMC Redundancy Ethernet",null,null,"S7-NET 1413(Package)","incl.in S7-NET 1413","SIMATIC S5 PMC Redundancy Ethernet"]
[40,"TF-NET 1413 Package","Replaced by CP1613",30,14,8,14,28,"SIMATIC S5 PMC Redundancy Ethernet",null,null,"TF-NET 1413(Package)","incl.in TF-NET 1413","SIMATIC S5 PMC Redundancy Ethernet"]
[41,"CP5412 + S7-5412","Replaced By CP5613",12,15,1,1,29,0,null,null,"CP5412(A2)","S7-5412","SIMADYN D PMC-PROFIBUS"]
[42,"CP5412 + DP-5412","Replaced By CP5613",12,15,1,2,29,0,null,null,"CP5412(A2)","DP-5412","SIMADYN D PMC-PROFIBUS"]
[43,"CP5412 + FMS-5412","Replaced By CP5613",12,15,1,3,29,0,null,null,"CP5412(A2)","FMS-5412","SIMADYN D PMC-PROFIBUS"]
[44,"S7-NET 1413 Package","Replaced by CP1613",30,16,7,13,19,0,null,null,"S7-NET 1413(Package)","incl.in S7-NET 1413",0]
[45,"TF-NET 1413 Package","Replaced by CP1613",30,16,8,14,19,0,null,null,"TF-NET 1413(Package)","incl.in TF-NET 1413",0]
[46,"S7-NET 1413 Package","Replaced by CP1613",30,17,7,13,28,0,null,null,"S7-NET 1413(Package)","incl.in S7-NET 1413","SIMATIC S5 PMC Redundancy Ethernet"]
[47,"TF-NET 1413 Package","Replaced by CP1613",30,17,8,14,28,0,null,null,"TF-NET 1413(Package)","incl.in TF-NET 1413","SIMATIC S5 PMC Redundancy Ethernet"]
[48,"CP5412 + DP-5412","Replaced By CP5613",62,18,1,2,26,"PROFIBUS DP",null,null,"CP5412(A2)","DP-5412","PROFIBUS-DP"]
[49,"CP5613 + DP-5613",null,null,18,2,5,26,"PROFIBUS DP",null,null,"CP5613","DP-5613","PROFIBUS-DP"]
[50,"CP5412 + FMS-5412","Replaced By CP5613",12,19,1,3,25,"PROFIBUS FMS",null,null,"CP5412(A2)","FMS-5412","PROFIBUS-FMS"]
[51,"CP5613 + FMS-5613",null,null,19,2,6,25,"PROFIBUS FMS",null,null,"CP5613","FMS-5613","PROFIBUS-FMS"]
[52,"Windows DDE channel",null,null,20,null,null,22,"Windows DDE",null,null,"","","Windows DDE"]
[53,"OPC Channel",null,null,21,null,null,23,"OPC",null,null,"","","OPC"]
[54,{"$nulls":7},"",null,null,"","",""]
[55,{"$nulls":7},"",null,null,"","",""]
[56,{"$nulls":7},"",null,null,"","",""]
[57,{"$nulls":7},"",null,null,"","",""]
[58,{"$nulls":7},"",null,null,"","",""]
[59,{"$nulls":7},"",null,null,"","",""]
[60,{"$nulls":7},"",null,null,"","",""]
[61,{"$nulls":7},"",null,null,"","",""]
[62,{"$nulls":7},"",null,null,"","",""]
[63,{"$nulls":7},"",null,null,"","",""]
[64,"FMS via CP5412 and OPC","Replaced By CP5613",null,19,1,3,23,"PROFIBUS FMS",null,null,"CP5412(A2)","FMS-5412","OPC"]
[65,"FMS via CP5613 and OPC",null,null,19,2,6,23,"PROFIBUS FMS",null,null,"CP5613","FMS-5613","OPC"]
[66,"S7 200 via CP5613 and OPC",null,null,32,2,4,23,"SIMATIC S7 200 MPI",null,null,"CP5613","S7-5613","OPC"]
[67,"S7 200 via CP5613 and PROFIBUS DP",null,null,33,2,5,26,"SIMATIC S7 200 PROFIBUS DP",null,null,"CP5613","DP-5613","PROFIBUS-DP"]
[68,"CP5511",null,null,3,13,7,1,"SIMATIC S7 300/400 MPI",null,null,"CP5512","incl. In WinCC","SIMATIC S7 Protocol Suite"]
[69,{"$nulls":7},"",null,null,"","",""]
[70,{"$nulls":7},"",null,null,"","",""]
[71,{"$nulls":7},"",null,null,"","",""]
[72,{"$nulls":7},"",null,null,"","",""]
[73,{"$nulls":7},"",null,null,"","",""]
[74,{"$nulls":7},"",null,null,"","",""]
[75,{"$nulls":7},"",null,null,"","",""]
[76,{"$nulls":7},"",null,null,"","",""]
[77,{"$nulls":7},"",null,null,"","",""]
["$Table1"]
[]
[]
[null,"Hardware"]
["$Table2","Name","Description","Comments","PC Bus",{"$nulls":3},"Price",null,"Order number"]
[1,"CP5412(A2)","CP for connecting to PROFIBUS or MPI","Replaced By CP5613","ISA",{"$nulls":3},{"v":10845.22,"d":"R 10,845.22"},null,"6GK1 541-2BA00"]
[2,"CP5613","CP for connecting to PROFIBUS or MPI"," ","PCI",{"$nulls":3},{"v":11477.59,"d":"R 11,477.59"},null,"6GK1 561-3AA00"]
[3,"CP5511","CP for connecting to PROFIBUS or MPI","PCMCIA 16 Bit","PCMCIA",{"$nulls":3},{"v":10672,"d":"R 10,672.00"},null,"6GK1 551-1AA00"]
[4,"CP5611","CP for connecting to PROFIBUS or MPI"," ","PCI",{"$nulls":3},{"v":6150,"d":"R 6,150.00"},null,"6GK1 561-1AA00"]
[5,"PC Adaptor","Adaptor for connecting to PROFIBUS or MPI via RS232"," ","RS232",{"$nulls":3},{"v":4169,"d":"R 4,169.00"},null,"6ES7 972-0CA23-0XA0"]
[6,"CP1413","CP for connecting to Industrial Ethernet","Replaced by CP1613","ISA"]
[7,"S7-NET 1413(Package)","Package incl. CP and driver for connecting to Industrial Ethernet","outlet product. Successor under windows NT is S7-1613","ISA",{"$nulls":3},{"v":35729,"d":"R 35,729.00"},null,"6GK1 141-3CW52"]
[8,"TF-NET 1413(Package)","Package incl. CP + driver for connecting to Industrial Ethernet (TF functions)","outlet product. Successor under windows NT is TF-1613","ISA",{"$nulls":3},{"v":47191,"d":"R 47,191.00"},null,"6GK1 141-3TW52"]
[9,"CP1612","CP for connecting to Industrial Ethernet","SOFTNET S7/Lean must be ordered seperately","PCI",{"$nulls":3},{"v":1898,"d":"R 1,898.00"},null,"6GK1 161-2AA00"]
[10,"CP1512","CP for connecting to Industrial Ethernet","Successor of CP1511. SOFTNET S7 must be ordered seperately","PCMCIA",{"$nulls":3},{"v":5249,"d":"R 5,249.00"},null,"6GK1 151-2AA00"]
[11,"CP1613","CP for connecting to Industrial Ethernet"," ","PCI",{"$nulls":3},{"v":16918,"d":"R 16,918.00"},null,"6GK1 161-3AA00"]
[12,"COM-Port","Serial Port of a computer (RS 232)"," ","RS232"]
[13,"CP5512","CP for connecting to PROFIBUS or MPI","PCMCIA 32 Bit","PCMCIA",{"$nulls":3},{"v":10672,"d":"R 10,672.00"},null,"6GK1 551-2AA00"]
[14]
[15]
["$Table2"]
[{"$nulls":9},""]
[]
[null,"Hardware Driver"]
["$Table3","Name","Description","Comments","Windows XP","Windows 98","Windows NT 4","Windows 2000","Price",null,"Order number"]
[1,"S7-5412","Communication Software for S7 functions on with CP5412(A2)","Replaced By CP5613"," ","x","x",null,{"v":9502,"d":"R 9,502.00"},null,"6GK1 702-5CW52-3AA0"]
[2,"DP-5412","Communication Software for S5-FDL communication with CP5412(A2)","Replaced By CP5613"," ","x","x",null,{"v":7146,"d":"R 7,146.00"},null,"6GK1 702-5DW52-3AA0"]
[3,"FMS-5412","Communication Software for S5-FMS communication.","Replaced By CP5613",null,"x","x",null,{"v":9502,"d":"R 9,502.00"},null,"6GK1 702-5FW52-3AA0"]
[4,"S7-5613","Communication Software for S7 + FDL"," ","x",null,"x","x",{"v":7115,"d":"R 7,115.00"},null,"6GK1 713-5CB21-3AA0"]
[5,"DP-5613","Communication Software for DP-Master + FDL"," ","x",null,"x","x",{"v":5328,"d":"R 5,328.00"},null,"6GK1 713-5DB21-3AA0"]
[6,"FMS-5613","Communication Software for  PROFIBUS FMS + FDL"," ","x",null,"x","x",{"v":7115,"d":"R 7,115.00"},null,"6GK1 713-5FB21-3AA0"]
[7,"incl. In WinCC","Driver included in WinCC Scope. "," "]
[8,"SOFTNET S7","Communication Software for S7 functions. ",null,"x","x","x",null,{"v":15115,"d":"R 15,115.00"},null,"6GK1 704-1CW61-3AA0"]
[9,"S7-1413","Communication Software for S7 functions and S5/505 Layer 4 communication","Replaced by CP1613"," ","x","x",null,{"v":14276,"d":"R 14,276.00"},null,"6GK1 701-1CW52-3AA0"]
[10,"TF-1413","Communication Software for TF functions and S5/505 Layer 4 communication","Replaced by CP1613"," ","x","x",null,{"v":21185,"d":"R 21,185.00"},null,"6GK1 701-1TW52-3AA0"]
[11,"S7-1613","Communication Software for S7 functions and S5/505 Layer 4 communication  with TCP/IP"," ","x",null,"x","x",{"v":13344,"d":"R 13,344.00"},null,"6GK1 716-1CB21-3AA0"]
[12,"TF-1613","Communication Software for TF functions and S5/505 Layer 4 communication with TCP/IP"," ","x",null,"x","x",{"v":16918,"d":"R 16,918.00"},null,"6GK1 716-1TB21-3AA0"]
[13,"incl.in S7-NET 1413","Communication Software for S7 functions and S5/505 Layer 4 communication"," "," ","x","x"]
[14,"incl.in TF-NET 1413","Communication Software for TF functions and S5/505 Layer 4 communication"," "," ","x","x"]
[15,"S7 - Redconnect / Windows V6.0","Software for fail-safe S7 Communication through redundent networks","Also for S7-OPC server","x",null,"x","x",{"v":25770,"d":"R 25,770.00"},null,"6GK1 716-0HB60-3AA0"]
[16,"SOFTNET-S7 LEAN/ V6.1","Software for up to 8 Connections via Ethernet",null,"x",null,null,"x",{"v":5057,"d":"R 5,057.00"},null,"6GK1704-1LW61-3AA0 "]
[17]
[18]
["$Table3"]
[]
[]
[null,"WinCC Channel DLL's"]
["$Table4","Name","Description","Comments","V5 core","V5 Option","V6 Core","V6 Option","Price",null,"Order number"]
[1,"SIMATIC S7 Protocol Suite","Cannel DLL for connections to products of the S7 range.",null,"x",null,"x",{"$nulls":3},"     "]
[2,"SIMATIC S5 Ethernet Layer 4","WinCC Channel DLL for connections to S5 via Ethernet Layer 4",null,"x",null,"x"]
[3,"SIMATIC S5 Ethernet TF",null,null,"x",null,"x"]
[4,"SIMATIC S5 Programmers Port AS511",null,null,"x",null,"x"]
[5,"SIMATIC S5 Serial 3964R",null,null,"x",null,"x"]
[6,"SIMATIC S5 PMC Ethernet Layer 4",null,null," ","x",null,null,{"v":15120,"d":"R 15,120.00"},null,"6AV6 371-1CD05-0PX0"]
[7,"SIMATIC S5 PMC PROFIBUS",null,null," ","x",null,null,{"v":15120,"d":"R 15,120.00"},null,"6AV6 371-1CD05-0NX0"]
[8,"SIMATIC S5 PROFIBUS-FDL",null,null,"x",null,"x"]
[9,"SIMATIC 505 Serial",null,null,"x"]
[10,"SIMATIC 505 Ethernet Layer 4",null,null,"x"]
[11,"SIMATIC 505 TCP/IP",null,null,"x"]
[12,{"$nulls":4},"x",null,null,{"v":5760,"d":"R 5,760.00"},null,"6AV6 371-1CD05-0BX0"]
[13,{"$nulls":3}," ","x",null,null,{"v":5760,"d":"R 5,760.00"},null,"6AV6 371-1CD05-0GX0"]
[14,{"$nulls":3}," ","x",null,null,{"v":5760,"d":"R 5,760.00"},null,"6AV6 371-1CD05-0AX0"]
[15,{"$nulls":4},"x",null,null,{"v":5760,"d":"R 5,760.00"},null,"6AV6 371-1CD05-0JX0"]
[16,{"$nulls":4},"x",null,null,{"v":5760,"d":"R 5,760.00"},null,"6AV6 371-1CD05-0DX0"]
[17,{"$nulls":4},"x",null,null,{"v":5760,"d":"R 5,760.00"},null,"6AV6 371-1CD05-0RX0"]
[18,{"$nulls":4},"x",null,null,{"v":5760,"d":"R 5,760.00"},null,"6AV6 371-1CD05-0EX0"]
[19,{"$nulls":4},"x",{"$nulls":4},"On Request"]
[20,{"$nulls":4},"x",{"$nulls":4},"On Request"]
[21,{"$nulls":4},"x",null,null,{"v":5760,"d":"R 5,760.00"},null,"6DR1 127-1AA00"]
[22,"Windows DDE",null,null,"x",null,"x"]
[23,"OPC",null,null,"x",null,"x"]
[24,"OPC Server",null,null,"x"]
[25,"PROFIBUS-FMS",null,"Does not support bit and byte access.",null,"x",null,null,{"v":5760,"d":"R 5,760.00"},null,"6AV6 371-1CD05-0CX0"]
[26,"PROFIBUS-DP",null,null,"x",null,"x"]
[27,"S5 PMC Ethernet",{"$nulls":5},"x","call",null,"6AV6 371-1CD04-00NX6"]
[28,"SIMATIC S5 PMC Redundancy Ethernet",{"$nulls":3},"x",{"$nulls":4},"On Request"]
[29,"SIMADYN D PMC-PROFIBUS",{"$nulls":3},"x",{"$nulls":4},"On Request"]
[30,"SIMADYN D PMC Redundancy Ethernet",{"$nulls":3},"x",{"$nulls":4},"On Request"]
[31]
[32]
[33]
[34]
["$Table4"]
[]
[]
[null,"Connection Type"]
["$Table5","Name","Target System","Communication via",{"$nulls":4},"Family",null,"Comments"]
[1,"SIMATIC S7 300/400 Industrial Ethernet","S7-300 (via CP343-1) or  S7-400 (via CP443-1)","S7 functions via ISO",{"$nulls":4},"SIMATIC S7"]
[2,"SIMATIC S7 300/400 PROFIBUS","S7/M7-300, -400 (integrated PROFIBUS-DP interface in the CPU/FM) or S7-300 (via CP342-5 / CP343-5) or an S7-400 (via CP443-5)","S7 functions via PROFIBUS",{"$nulls":4},"SIMATIC S7"]
[3,"SIMATIC S7 300/400 MPI","S7/M7-300, -400 across the MPI interface of the CPU/FM","S7 functions via MPI",{"$nulls":4},"SIMATIC S7"]
[4,"SIMATIC S7 300/400 TCP/IP","S7-300 (via CP343-1 TCP) or  S7-400 (via CP443-1 TCP)","S7 functions via TCP/IP",{"$nulls":4},"SIMATIC S7"]
[5,"SIMATIC S7 Slot PLC","Slot PLC CPU 416-2DP ISA or Soft PLC Win LC","Protocol S7 functions",{"$nulls":4},"SIMATIC S7"]
[6,"SIMATIC S5 Programmers Port AS511","SIMATIC S5-95U, -100U, -115U, -135U, -155U","Protocol AS511",{"$nulls":4},"SIMATIC S5"]
[7,"SIMATIC S5 Serial 3964R","SIMATIC S5-115U, -135U, -155U","via programming unit interface",{"$nulls":4},"SIMATIC S5"]
[8,"SIMATIC S5 Profibus FDL","SIMATIC S5-115U, -135U, -155U (with CP5431 FMS/DP) via CPU interface SI2 or via CP524 or CP544","Protocol RK512 ",{"$nulls":4},"SIMATIC S5"]
[9,"SIMATIC S5 Ethernet Layer 4","SIMATIC S5-115U, -135U, -155U (with CP1430 TF)","Ethernet Layer 4 using data handling blocks",{"$nulls":4},"SIMATIC S5"]
[10,"SIMATIC S5 TCP/IP",{"$nulls":6},"SIMATIC S5"]
[11,"SIMATIC S5 Ethernet TF","SIMATIC S5-115U, -135U, -155U (with CP1430 TF) ","Protocol Ethernet TF",{"$nulls":4},"SIMATIC S5"]
[12,"SIMATIC S5 PMC Profibus","SIMATIC S5-115U, -135U, -155U (with CP5431 FMS/DP)","Protocol Profibus FDL using PMC data handling blocks",{"$nulls":4},"SIMATIC S5"]
[13,"SIMATIC S5 PMC Ethernet","SIMATIC S5-115U, -135U, -155U (with CP1430 TF) ",{"$nulls":5},"SIMATIC S5"]
[14,"SIMATIC S5 PMC Redundancy Ethernet","SIMATIC S5-115U, -135U, -155U  with CP1430 TF  (Protocol Ethernet Layer 4 using PMC data handling blocks)","Protocol Ethernet Layer 4 using PMC data handling blocks",{"$nulls":4},"SIMATIC S5"]
[15]
[16]
[17]
[18,"PROFIBUS DP","PROFIBUS DP/Slaves in accordance with EN 50170","Protocol PROFIBUS DP cyclical channel",{"$nulls":4},"Int. Standard"]
[19,"PROFIBUS FMS","PROFIBUS FMS nodes in accordance with EN 50170,","PROFIBUS FMS protocol",{"$nulls":4},"Int. Standard"]
[20,"Windows DDE","Windows Application","Windows DDE",{"$nulls":4},"Int. Standard"]
[21,"OPC","Windows Application","OPC",{"$nulls":4},"Int. Standard"]
[22]
[23]
[24]
[25]
[26]
[27]
[28]
[29]
[30]
[31]
[32,"SIMATIC S7 200 MPI","SIMATIC S7 22x via EM277","S7 functions via MPI",{"$nulls":4},"SIMATIC S7"]
[33,"SIMATIC S7 200 PROFIBUS DP","CPU 215-2DP","PROFIBUS DP protocol",{"$nulls":4},"SIMATIC S7"]
[34]
[35]
["$Table5"]

{"sheet":"Options and Docu","index":2,"n_rows":582,"n_cols":22,"rows_kept":582,"merged":[[1,1,1,19],[2,1,2,19]],"flags":["formulas_cached_only"]}
[]
[null,"WinCC V6.2 中文版 选件(Options)"]
[]
[null,"升级包"]
[null,2,"从 WinCC 5.x 中文版 升级到 6.2",null,{"v":23060.73,"d":"￥23,060.73"},null,"6AV6",3,8,1,"-",1,"A","B",0,6,"-",2,"A","V",4]
[{"$nulls":3},"完全版 从 V5.x 到 V6.2",{"$nulls":9},"|"]
[{"$nulls":3},"运行版 从 V5.x 到 V6.2",{"v":13155.45,"d":"￥13,155.45"},{"$nulls":8},"A"]
[{"$nulls":3},"完全版 从 V5.x 到 V6.2",{"v":23060.73,"d":"￥23,060.73"},{"$nulls":8},"B"]
[]
[null,2,"从 WinCC 6.x 中文版 升级到 6.2",null,{"v":15322.23,"d":"￥15,322.23"},null,"6AV6",3,8,1,"-",1,"A","B",0,6,"-",2,"A","V",3]
[{"$nulls":3},"完全版 从 6.x 到 V6.2",{"$nulls":9},"|"]
[{"$nulls":3},"运行版 从 6.x 到 V6.2",{"v":9286.2,"d":"￥9,286.20"},{"$nulls":8},"A"]
[{"$nulls":3},"完全版 从 6.x 到 V6.2",{"v":15322.23,"d":"￥15,322.23"},{"$nulls":8},"B"]
[]
[null,"授权型选件"]
[null,null,"Server Option （服务器选件）",null,{"v":31797.4965,"d":"￥31,797.50"},null,"6AV6",3,7,1,"-",1,"C","A",0,6,"-",2,"A","X",0]
[]
[null,null,"Redundancy Option （冗余选件）",null,{"v":33043.395,"d":"￥33,043.40"},null,"6AV6",3,7,1,"-",1,"C","F",0,6,"-",2,"A","X",0]
[]
[null,null,"User Archives Option （用户归档选件）",null,{"v":7854.5775,"d":"￥7,854.58"},null,"6AV6",3,7,1,"-",1,"C","B",0,6,"-",2,"A","X",0]
[]
[null,null,"CAS Option （中央归档服务器选件）",null,{"v":77083.1985,"d":"￥77,083.20"},null,"6AV6",3,7,1,"-",1,"D","Q",1,6,"-",2,"X","V",0]
[]
[null,"Web-based Options（Web选件）"]
[null,4,"Web Navigator 6.2(中文版)",null,{"v":444963.75,"d":"￥444,963.75"},null,"6AV6",3,7,1,"-",1,"D","H",0,6,"-",2,"D","V",0]
[{"$nulls":3},"50 个客户机授权",{"$nulls":14},"|"]
[{"$nulls":3},"3 个客户机授权",{"v":84349.65,"d":"￥84,349.65"},{"$nulls":13},"A"]
[{"$nulls":3},"10 个客户机授权",{"v":144709.95,"d":"￥144,709.95"},{"$nulls":13},"B"]
[{"$nulls":3},"25 个客户机授权",{"v":251501.25,"d":"￥251,501.25"},{"$nulls":13},"C"]
[{"$nulls":3},"50 个客户机授权",{"v":444963.75,"d":"￥444,963.75"},{"$nulls":13},"D"]
[]
[null,null,"Web Navigator 6.2 Diagnose Client",null,{"v":32733.855,"d":"￥32,733.86"},null,"6AV6",3,7,1,"-",1,"D","H",0,6,"-",2,"E","V",0]
[]
[null,null,"Web Navigator 6.2 Diagnose Server",null,{"v":8048.04,"d":"￥8,048.04"},null,"6AV6",3,7,1,"-",1,"D","H",0,6,"-",2,"F","V",0]
[]
[null,null,"Web Navigator 从6.x到6.2",null,{"v":13929.3,"d":"￥13,929.30"},null,"6AV6",3,7,1,"-",1,"D","H",0,6,"-",2,"X","V",3]
[{"$nulls":3},"3、10、25、50客户机授权"]
[]
[null,4,"Dat@Monitor 6.2 服务器和客户机组件",null,{"v":147031.5,"d":"￥147,031.50"},null,"6AV6",3,7,1,"-",1,"D","N",0,6,"-",2,"C","V",0]
[{"$nulls":3},"25 个客户机授权",{"$nulls":14},"|","|"]
[{"$nulls":3},"1 个客户机授权",{"v":29251.53,"d":"￥29,251.53"},{"$nulls":13},"L","V"]
[{"$nulls":3},"3 个客户机授权",{"v":44728.53,"d":"￥44,728.53"},{"$nulls":13},"A","V"]
[{"$nulls":3},"10 个客户机授权",{"v":81873.33,"d":"￥81,873.33"},{"$nulls":13},"B","V"]
[{"$nulls":3},"25 个客户机授权",{"v":147031.5,"d":"￥147,031.50"},{"$nulls":13},"C","V"]
[{"$nulls":3},"50 个客户机授权",{"v":270847.5,"d":"￥270,847.50"},{"$nulls":13},"D","V"]
[]
[]
[null,"Database-related Options（数据库相关选件）"]
[null,7,"Historian V6.2",null,{"v":58503.6,"d":"￥58,503.60"},null,"6AV6",3,7,1,"-",1,"D","Q",1,6,"-",2,"A","B",0]
[{"$nulls":3},"从1500升级到5000个归档变量 ",{"$nulls":14},"|","|"]
[{"$nulls":3},"1500个归档变量 ",{"v":24918.2,"d":"￥24,918.20"},{"$nulls":13},"A","X"]
[{"$nulls":3},"5000个归档变量",{"v":83421.03,"d":"￥83,421.03"},{"$nulls":13},"B","X"]
[{"$nulls":3},"10000个归档变量",{"v":130008,"d":"￥130,008.00"},{"$nulls":13},"C","X"]
[{"$nulls":3},"30000个归档变量  ",{"v":211263,"d":"￥211,263.00"},{"$nulls":13},"E","X"]
[{"$nulls":3},"80000个归档变量   ",{"v":530866,"d":"￥530,866.00"},{"$nulls":13},"G","X"]
[{"$nulls":3},"120000个归档变量   ",{"v":628372,"d":"￥628,372.00"},{"$nulls":13},"J","X"]
[{"$nulls":3},"从1500升级到5000个归档变量 ",{"v":58503.6,"d":"￥58,503.60"},{"$nulls":13},"A","B"]
[{"$nulls":3},"从5000升级到10000个归档变量 ",{"v":46586.2,"d":"￥46,586.20"},{"$nulls":13},"B","C"]
[{"$nulls":3},"从10000升级到30000个归档变量  ",{"v":81255,"d":"￥81,255.00"},{"$nulls":13},"C","E"]
[{"$nulls":3},"从30000升级到80000个归档变量  ",{"v":319603,"d":"￥319,603.00"},{"$nulls":13},"E","G"]
[{"$nulls":3},"从80000升级到120000个归档变量  ",{"v":97506,"d":"￥97,506.00"},{"$nulls":13},"G","J"]
[]
[]
[null,null,"Connectivity Pack V6.2",null,{"v":15322.23,"d":"￥15,322.23"},null,"6AV6",3,7,1,"-",1,"D ","R",0,6,"-",2,"A","V",0]
[]
[null,null,"Connectivity Station V6.2",null,{"v":43335.6,"d":"￥43,335.60"},null,"6AV6",3,7,1,"-",1,"D ","R",1,6,"-",2,"A","V",0]
[]
[null,1,"Industrial Databridge V6.1",null,{"v":10725.561,"d":"￥10,725.56"},null,"6AV6",3,7,1,"-",1,"D","X",0,6,"-",1,"A","X",0]
[{"$nulls":3},"包含128个变量",{"$nulls":14},"|","|"]
[{"$nulls":3},"包含128个变量",{"v":10725.561,"d":"￥10,725.56"},{"$nulls":13},"A","X"]
[{"$nulls":3},"包含512个变量",{"v":19110.9996,"d":"￥19,111.00"},{"$nulls":13},"B","X"]
[{"$nulls":3},"包含2048个变量",{"v":30638.2692,"d":"￥30,638.27"},{"$nulls":13},"C","X"]
[{"$nulls":3},"包含10000个变量",{"v":67040.1732,"d":"￥67,040.17"},{"$nulls":13},"D","X"]
[]
[null,2,"Client Access License CAL V6.0 Option",null,{"v":122268.3,"d":"￥122,268.30"},null,"6AV6",3,7,1,"-",1,"E","S",0,6,"-",0,"C","X",0]
[{"$nulls":3},"Client Access License Processor",{"$nulls":14},"|"]
[{"$nulls":3},"Client Access License Single",{"v":6036.03,"d":"￥6,036.03"},{"$nulls":13},"A"]
[{"$nulls":3},"Client Access License Processor",{"v":122268.3,"d":"￥122,268.30"},{"$nulls":13},"C"]
[]
[null,"Others （其它选件）"]
[null,null,"ProAgent V6.0+SP4 Option （选件）",null,{"v":13697.145,"d":"￥13,697.15"},null,"6AV6",3,7,1,"-",1,"D","G",0,6,"-",0,"E","X",0]
[]
[null,null,"ODK V6.0 SP4（开放式开发工具包）",null,{"v":40936.665,"d":"￥40,936.67"},null,"6AV6",3,7,1,"-",1,"C","C",0,6,"-",0,"E","X",0]
[]
[null,null,"IndustrialX V6.2 Option （选件）",null,{"v":22673.805,"d":"￥22,673.81"},null,"6AV6",3,7,1,"-",1,"E","L",1,6,"-",2,"A","X",0]
[]
[null,2,"Audit V6.2 Options（选件）",null,{"v":92862,"d":"￥92,862.00"},null,"6AV6",3,7,1,"-",1,"D","V",1,6,"-",2,"A","X",0]
[{"$nulls":3},"Audit RC",{"$nulls":10},"|"]
[{"$nulls":3},"Audit RT",{"v":10524.36,"d":"￥10,524.36"},{"$nulls":9},0]
[{"$nulls":3},"Audit RC",{"v":92862,"d":"￥92,862.00"},{"$nulls":9},1]
[]
[null,1,"ChangeControl V6.2 Options（选件）",null,{"v":61908,"d":"￥61,908.00"},null,"6AV6",3,7,1,"-",1,"D","V",2,6,"-",2,"A","X",0]
[]
[null,3," 综合支持－12个月合同",null,{"v":97948.0284975852,"d":"￥97,948.03"},null,"6AV6",3,8,1,"-",1,"A","A",0,0,"-",0,"C","X",5]
[{"$nulls":3},"10个客户机授权",{"$nulls":14},"|"]
[{"$nulls":3},"单个客户机授权",{"v":14692.2,"d":"￥14,692.20"},{"$nulls":13},"A"]
[{"$nulls":3},"3个客户机授权",{"v":35692.9256389505,"d":"￥35,692.93"},{"$nulls":13},"B"]
[{"$nulls":3},"10个客户机授权",{"v":97948.0284975852,"d":"￥97,948.03"},{"$nulls":13},"C"]
{"$rows_empty":483}
[{"$nulls":21},false]

{"sheet":"Infotexts","index":3,"n_rows":147,"n_cols":2,"rows_kept":147,"hidden":true,"flags":["formulas_cached_only"]}
[]
["WinCC/Server"]
[null,"The application of the server option makes WinCC a powerful client/ server system. It allows multiple"]
[null,"Coordinated operator stations to be operated together with networked automation systems."]
[null,"A server supplies up to 32 connected clients with process data, archive data, messages, pictures and reports.  This requires a network connection (TCP/IP) between the server computer and the connected clients.  Depending on the plant size, up to twelve servers can be employed. Each server requires one server license.  In general, the plant is controlled by standard clients that access one server or by multi-clients that possess a central view to multiple servers. The clients only require the smallest runtime license (RT128) or complete license (RC128) if you also want to configure on the client. This makes it possible to configure reasonably priced operator and configuration stations in a network. You can of course carry out configuration online without affecting the function of the servers and operator stations."]
[]
[]
["WinCC/Redundancy"]
[null,"With the WinCC/Redundancy option two WinCC servers or two single-user operator stations can be run in parallel in order to Monitor each other."]
[null,"One WinCC/Redundancy option contains licences for two stations (for one pair of redundant systems)."]
[null,"All other licences (Powertags, Server option, Storage option ect.) must be installed on both machines separately. "]
[null,"The WinCC/Redundancy option gives the user the oppor-tunity to operate two linked WinCC single-user systems or server PCs in-parallel, in order to "]
[null,"monitor each other.  On the failure of one of the servers, the second server assumes control of the entire system. When the failed server resumes operation,"]
[null," the contents of all message and process value archives are copied back to the restored server. All in all, this results in significantly higher levels of system"]
[null," availability. This means that your production stays online even if a server should fail."]
[]
[]
["WinCC/Web Navigator"]
[null,"Process Visualization Across the Worldwide Web"]
[null,"The WinCC/Web Navigator option package represents the arrival of process visualization via the Internet"]
[null,"in industrial applications. WinCC/Web Navigator allows you to visualize and operate your plant via the Internet or your company’s Intranet or LAN.  For such a configuration you need a Web Navigator Server on which the SIMATIC WinCC V6 software is installed as a single-user or server version and a Web Navigator Client.  The Web Navigator Client is a thin client that makes possible operating and monitoring of an ongoing WinCC project by means of an Internet browser with ActiveX support without you needing to have the WinCC basic system on your computer.  As from Version 6 the Web Server software may be loaded onto a Client station, and can therefor access multiple WinCC Servers at once."]
[]
["WinCC/Datamonitor"]
[null,"Suite of tools with Internet Capability"]
[null,"Dat@Symphony - Tool for monitoring and navigating only via WinCC displays by means of Internet Explorer - View Only"]
[null,"Dat@View - Internet Explorer based display tool (tables and curves) for WinCC archives as well as for swapped data"]
[null,"Dat@Workbook - Logging tool that integrates WinCC archive and online values into MS Excel and supports online analysis"]
[null,"Like the Web Navigator option this tool may be installed on any WinCC client station, and can access multiple servers simultaneously.  Licenses for simultaneous access of 3,10, 25 or 50 Dat@Monitor clients.  Dat@Monitor and Web Navigator clients can be mixed as required in an application."]
[]
["WinCC/Web Navigator Diagnostic Client"]
[]
["WinCC/IndustrialDataBridge"]
[null,"Connecting the Automation level with the IT world"]
[null,"Integration of systems from different manufacturers via a wide range of standard interfaces (incl. OPC, SQL, OLE-DB, Office formats)"]
[null,"The software comprises a configuration and a runtime environment.  The various different data interfaces are integrated via software modules.  In each case one module is required as a data source, and one as a data destination."]
[null,"The connections between the data source and destination are created in the configuration environment, in the runtime environment the IndustrialDataBridge establishes the configured connection autonomously and transfers the data of the linked variables."]
[null,"For access to WinCC via this option WinCC Client Access Licenses CAL's are required on computers that do not have a valid WinCC license."]
[]
["WinCC/FDA Option"]
[null,"Central Plant-wide user administration"]
[null,"Conforms to the requirements of the FDA for the pharmaceutical and food processing industry"]
[null,"Simatic Logon ALWAYS requires a domain controller for coordinating several WinCC stations.  The high availability can be guarenteed by using a primary/secondary domain controller.  It does not execute under Windows for Workgroups"]
[null,"In order to make up different combinations of configurations for applications where validation is mandatory, low-cost FDA packs can be ordered which contain all the neceassary functions."]
[null,"FDA Pack RT for each Operator station"]
[null,"FDA Pack RC for configuring stations, which can also operate in RT mode"]
[]
["WinCC/Messenger"]
[null,"The WinCC/Messenger integrates a complete e-mail system into the WinCC runtime interface. Speech"]
[null,"and comments are recorded and sent together with the message.  Not only can current screen data (e.g."]
[null,"a process screen) be automatically integrated into an e-mail, the message can also be supplemented with"]
[null,"speech and graphical information.  The Messenger functionality has been implemented in ActiveX"]
[null,"controls. They can easily be integrated into the process pictures of SIMATIC WinCC and be connected to"]
[null,"WinCC process signals. Situation-dependent, e.g. triggered by alarm states, e-mail messages can be sent"]
[null,"while the process is running.  In addition to the automatic operation of these controls, the Messenger can also be utilized as a regular e-mail client in WinCC. This makes bi-directional communications between the on-site operating personnel and the service personnel possible, without having to give the user access to the operating system.  The message can be supplemented with multimedia features."]
[]
[]
["WinCC/Connectivity Pack"]
[null,"Cross-vendor communication"]
[null,"OPC HDA 1.0 (Historical data Access), OPC A&E 1.02 (Alarms and events), as well as a WinCC OLE-DB interface that provides distant computers without a WinCC intallation with access to the WinCC archive and alarm data"]
[null,"Access to the WinCC archive and alarm data via the interfaces of the connectivity pack requires a WinCC/Client Access License CAL on the client side."]
[null,"One Connectivity pack license is required for each server."]
[]
["WinCC/Historian"]
[null,"High Speed High Volume"]
[null,"Based on Microsoft SQL Server 2000, this powerful historian concept is present on even the most basic systems with a free 512 archive offering."]
[null,"The system allows for a maximum performance profile of 10 000 value archiving per second and 100 messages per second, for a maximum of 80 000 archives."]
[null,"Web and Office based tools are available to analyse the data.  Up to 11 WinCC servers, remote OPC DA servers or remote databases as well as direct I/O access via the WinCC Data Manager are used as data Sources."]
[]
["WinCC/Client Access License CAL"]
[null,"Required for accessing WinCC Data (Curves and messages, realtime data etc) from any office PC without a WinCC License"]
[null,"WinCC/CAL contains a Microsoft license for remote access to the MS SQL server 2000 database.  These licenses are assigned to a specific PC and are non-transferrable."]
[null,"Packages such as Web Navigator and Dat@Monitor already include CAL's"]
[null,"Each computer that uses the WinCC data must be equipped with a WinCC/CAL, if the \"per processor license\" is used, the WinCC system can be accessed by any number of PC's"]
[]
["WinCC/FDA Option"]
[null,"Required for accessing WinCC Data (Curves and messages, realtime data etc) from any office PC without a WinCC License"]
[null,"WinCC/CAL contains a Microsoft license for remote access to the MS SQL server 2000 database.  These licenses are assigned to a specific PC and are non-transferrable."]
[null,"Packages such as Web Navigator and Dat@Monitor already include CAL's"]
[null,"Each computer that uses the WinCC data must be equipped with a WinCC/CAL, if the \"per processor license\" is used, the WinCC system can be accessed by any number of PC's"]
[]
["WinCC/ProAgent"]
[null,"WinCC/ProAgent enables precise process fault diagnostics for machines and plants. Thanks to complete"]
[null,"integration in the world of SIMATIC process diagnostics, ProAgent offers a user-friendly solution on the basis of STEP 7 ® , S7-PDIAG and S7-GRAPH Engineering Tools as well as the SIMATIC S7-300/-400 ® and WinAC control systems. The system supports all the link types of the SIMATIC S7 Protocol Suite."]
[null,"ProAgent provides optimum support for the action of STEP 7 option packages and ProAgent. During runtime, the standard pictures are filled with process-specific data. During configuration, the data relevant to"]
[null,"process diagnostics, such as symbols, comments, message texts, are stored in a standardized database"]
[null,"organization. This makes duplicated input of data superfluous. SIMATIC WinCC accesses the data"]
[null,"directly and applies it."]
[]
["WinCC/NetCC"]
[null,"Using NetCC, you can diagnose and visualize WinCC stations on the network.  The system graphically visualizes stations on an overview picture where you can call station information and execute commands on a remote station, eg. Start runtime, stop runtime, reboot computer; if required this can be password protected.  This means that you can administer all the WinCC systems that are integrated in the networkon a centralized basis."]
[null,"a WinCC station ready for process control tasks with minimal engineering work.  The Basic Process Control package includes the following additional configuration options:  Basic data for an efficient screen division into overview, workspace and keyset areas Split Screen Wizard for setting the display resolution and multi-channel operation Picture Tree Manager for graphical configuration of a process picture hierarchy Alarm Logging Wizard for simple parameterization of message views with pages for new, old and disappeared messages, listings with operator input, I&C (instrumentation & control) system and historical messages and for connection of a hooter 3D bar graphs and group displays as additional Smart Objects At runtime powerful functions are available:  Paging through the picture hierarchy Storing/recalling the user –specific screen composition Selection of process pictures and measuring points by name Group displays for user guidance in the picture hierarchy."]
[]
[]
["WinCC/User Archives"]
[null,"The WinCC/User Archives option allows the application of user archives, in which related data is"]
[null,"stored in data records. WinCC and its automation partners (e.g. a SIMATIC S7 PLC) can write to these"]
[null,"data records and exchange them among one another if required. An operator can, for example, input"]
[null,"parameter records in WinCC, store them in the user archive and forward them to the automation level if re-quired.  In the other direction, a PLC can continuously acquire production parameters during a shift and transmit them to WinCC at the end of the shift. Other applications include the acquisition of batch data, the specification of production parameters and the control of inventory data.  You make the link between data records and fields from user archives to the process simply using a direct tag link. Import and export functions support the reading in/out of data via external applications (e.g. Excel). WinCC provides functions for the free organization of data storage in the user archives which influence archives, data records and fields."]
[]
[]
["WinCC/Storage"]
[null,"Powerful archiving functions for process values, messages and reports are already included in the"]
[null,"WinCC base system. In addition, the WinCC/Storage option supports long-term data acquisition. The data"]
[null,"acquired by WinCC can be exported automatically to external, Windows-supported archiving media. If required, the exported data can be transferred back again and be selectively analyzed with WinCC"]
[null,"tools (e.g. in a message or trend window).  In addition, Storage gives you the option of exporting data in a CSV format. This makes the data available to other applications for further processing. Storage function overview: Time-controlled export of process values, messages and reports Transfer back of exported data"]
[null,"Management of exported data via a log file A WinCC/Storage license is only necessary for a single-user or a"]
[null,"server station. Clients can access the data managed by Storage without any special license."]
[]
[]
["WinCC/IndustrialX"]
[null,"Once you have created the IndustrialX Control, you can integrate it into pictures as often as you like. At integration, you only need to specify the name of the data record.  At runtime, each integration of the IndustrialX Control then automatically works with the data of the assigned data record. Each time the IndustrialX Control is used, you do not need to spend time and effort on linking the individual data. Easy to Maintain If you have a lot of IndustrialX Controls, which are already integrated in process pictures, you can easily change them later. The changes are made once at a central location.  Wouldn´t you like to significantly expand the functionality of your WinCC system for an industry-specific application? "]
[]
[]
["WinCC/Open Development Kid"]
[null,"The Open Development Kit (ODK) option package describes the open programming interfaces, with which data and functions of the WinCC configuration and the WinCC runtime system can be accessed. The interfaces are designed as C-Application Programming Interfaces (C-APIs). The API functions can be used as follows: within WinCC, for example, in Global Scripts or within C actions in Graphics Designer, in Windows applications in C development environments (the current version of Microsoft Visual C++ is required for WinCC).  API functions are configuration and runtime functions, e.g.: MSRTCreateMsg: generates a message DMGetValue: determines the value of a tag PDLRTSetProp: sets the object"]
[null,"properties in a picture DBExport: exports a database table The scope of delivery of WinCC/ODK"]
[null,"comprises a CD-ROM with lots of examples and a voucher for a one-day introductory seminar."]
[]
["WinCC/Comprehensive Support"]
[null,"Support reduces configuration times and helps you to get answers to your queries quickly and at a favourable price. Siemens offers their customers support options ranging from individual regional assistance to a 24-hour hotline.  WinCC/Comprehensive Support is a comprehensive support package and"]
[null,"is ideal both for beginning and expert users of WinCC. The package is issued up to three times"]
[null,"a year.  The whole package includes: The latest WinCC Updates/Upgrades, Continuously updated WinCC"]
[null,"Knowledge Base CD with — Tips & Tricks on all aspects of WinCC, — FAQs, — WinCC scripts,"]
[null,"— Video demonstrations, — Application stories and much more. The current WinCC Configuration"]
[null,"& Communication Manual CD as entry-level tool and vast source of information for experts"]
[null,"WinCC Comprehensive Support must be obtained for each WinCC system (Single-user, Server, Client)  1, 3 and 10 License packages are available."]
[]
["Operator Station OS77"]
[null,"The Operator Station comes pre-installed with Windows NT 4 or Windows 2000, and with WinCC System Software Version 5."]
[null,"Win 2000/NT Server is required for the WInCC Server option - therefore the OS77 cannot be used for this configuration"]
[null,"Hardware:"]
[null,"   Intel Pentium 4 with 1,4 GHz, 256 kB 2nd Level Cache"]
[null,"   256 / 512 MB RAM with EEC error correction (max. 1024 MB)"]
[null,"   GM 1000 AGP (16 Mbytes)"]
[null,"   ATX system board:chipset Intel 850, LAN, Audio on-board"]
[null,"   Fast IDE / Ultra DMA 100 on board for 2x2 Drives"]
[null,"Drives:"]
[null,"   15GBytes Ultra DMA 66 7k U/min; 3,5\" (1,44MBytes) Floppy Drive; 48x ATAPI CD-ROM Drive"]
[null,"Interfaces:   2x serial; 1x parallel; 2x USB; 1x Audio ; 1x Game"]
[null,"Expansion slots & Drive bays:"]
[null,"   7 slots (all long) comprising: 4x PCI; 1x PCI/CNR; 1x AGP 4fold"]
[null,"   6 bays: 3x 5,25\" (ext.); 2x 3,5\" (int.); 1x 3,5\" (ext.) "]
[null,"Comm. boards (optional):   MPI Interface CP5611;  PROFIBUS CP5613;  Ind.Ethernet CP 1613"]
[null,"LAN Interface: 10/100Mbit Ethernet interface on board (RJ45 Conn.)"]
[null,"   optional 3COM 3C900B COMBO with 10Mbit/s AUI; BNC and RJ45 Conn."]
[null,"Dimension 444x205x500 mm; ca. 14 kg"]
[null,"Accessories: PS/2 mouse; MF2 keyboard; NO MONITOR SUPPLIED"]

{"sheet":"Trolley","index":4,"n_rows":10,"n_cols":10,"rows_kept":10,"merged":[[1,1,1,3],[1,4,1,6],[4,7,4,9],[5,1,5,7],[6,1,6,5],[7,1,7,5],[9,1,9,5]],"flags":["formulas_cached_only"]}
[]
[null,"Product",null,null,"Order Number",null,null,"Price","PCS","Total"]
[{"$nulls":9},""]
[{"$nulls":9},""]
[{"$nulls":7},{"v":0,"d":"￥ 0.00"}]
[null,"Enter Discount in Total Column eg. 30"]
[null,"Minus Discount",{"$nulls":7},{"v":0,"d":"￥ 0.00"}]
[null,"Discounted Total",{"$nulls":7},{"v":0,"d":"￥ 0.00"}]
[]
[null,"TOTAL",{"$nulls":7},{"v":0,"d":"￥ 0.00"}]

{"sheet":"Help","index":5,"n_rows":32,"n_cols":7,"rows_kept":32,"flags":["formulas_cached_only"]}
[]
[null,"版本:",null,null,2007]
[null,"最后更新:",null,null,"16th Jul. 2007"]
[]
[null,null,"需要帮助: 请联系 Pei Yuandou (裴渊斗) on 010 - 64765311 or 13910783993"]
[]
[null,"概述"]
[{"$nulls":3},"该 Excel 文件主要用来帮助内部同事快速和简单地获得WinCC相关产品的价格信息,涉及到如下产品:"]
[]
[{"$nulls":4},"产品类别","支持的版本","所在 Excel Sheet 的名称"]
[{"$nulls":4},"WinCC System Software","Version 6.2 Chinese","WinCC and PowerPacks"]
[{"$nulls":4},"WinCC PowerPacks","Version 6.2 Chinese / English","WinCC and PowerPacks"]
[{"$nulls":4},"WinCC Options and Documents","Version 6.2 Chinese / English","Options and Docu"]
[{"$nulls":4},"WinCC Documentation","Version 6.2 English","Options and Docu"]
[]
[{"$nulls":3},"首先根据产品类别打开相应的页面, 然后点击对应的购物小车即可. 在\"Trolley\"页面可以看到所有选择好的产品列表."]
[]
[null,"WinCC System Software, WinCC Powerpacks"]
[{"$nulls":3},"在下半页面选择好软件包, 再点击上半页面的购物小车即可. 可以重复执行该动作, 每点击一次, 购买一套软件包."]
[]
[null,"Options and Documentation"]
[{"$nulls":3},"在左半页面选择好软件包, 再点击右半页面对应的购物小车即可. 可以重复执行该动作, 每点击一次, 购买一套软件包."]
[]
[null,"Trolley (购物小车)"]
[{"$nulls":3},"购物小车中会列出所有在前两个页面中选购的产品名细, 并计算出总的价格."]
[{"$nulls":3},"可以手动地删除购买产品列表的某些行."]
[{"$nulls":3},"可以手动地改变购买产品的数量."]
[{"$nulls":3},"可以通过点击\"Clear All\"按钮清空购物车."]
[{"$nulls":3},"可以手动地输入产品折扣."]
[]
[null,"意见和建议:"]
[{"$nulls":3},"Yuandou.Pei@Siemens.Com"]